{

"schema": "1.0",

"title": "CLASS C FIRE — FULL BRANCHING ADVENTURE TREE",

"category": "Class C Fire (Electrical Fires: Energized Equipment, Wiring, Panels, Servers)",

"root": "C1",

"phases": [

{ "id": 1, "name": "Core Electrical Fire Tree" },

{ "id": 2, "name": "Electrical Catastrophe & Cascade Failures" }

],

"nodes": {

"C1": {

"phase": 1,

"title": "NODE C1 — Initial Indicator",

"situation": "You hear a loud pop followed by the smell of burning plastic near an electrical room. The lights flicker briefly, then stabilize. No alarm is sounding.",

"question": "What do you do first?",

"options": [

{ "label": "A", "text": "Investigate the source cautiously", "outcome": { "type": "node", "target": "C2" } },

{ "label": "B", "text": "Pull the fire alarm immediately", "outcome": { "type": "node", "target": "C1B" } },

{ "label": "C", "text": "Ignore it since the lights came back on", "outcome": { "type": "failure", "target": "FC1" } },

{ "label": "D", "text": "Reset the breaker panel", "outcome": { "type": "failure", "target": "FC2" } }

]

},

"C1B": {

"phase": 1,

"title": "NODE C1B — Early Alarm",

"situation": "The alarm sounds. Some occupants evacuate, others complain about “another false alarm.”",

"question": "What is your priority now?",

"options": [

{ "label": "A", "text": "Ensure evacuation and restrict access to electrical area", "outcome": { "type": "node", "target": "C3" } },

{ "label": "B", "text": "Silence the alarm until fire is confirmed", "outcome": { "type": "failure", "target": "FC3" } },

{ "label": "C", "text": "Investigate alone while evacuation continues", "outcome": { "type": "node", "target": "C2L" } },

{ "label": "D", "text": "Let occupants decide whether to evacuate", "outcome": { "type": "failure", "target": "FC4" } }

]

},

"C2": {

"phase": 1,

"title": "NODE C2 — Investigation Path",

"situation": "You approach the electrical room. Smoke seeps from a breaker panel. You hear faint crackling sounds.",

"question": "What is the PRIMARY hazard right now?",

"options": [

{ "label": "A", "text": "Energized electrical equipment", "outcome": { "type": "node", "target": "C2A" } },

{ "label": "B", "text": "Smoke inhalation", "outcome": { "type": "node", "target": "C2X" } },

{ "label": "C", "text": "Structural collapse", "outcome": { "type": "node", "target": "C2X" } },

{ "label": "D", "text": "Alarm fatigue", "outcome": { "type": "node", "target": "C2X" } }

]

},

"C2A": {

"phase": 1,

"title": "NODE C2A — Correct Hazard Recognition",

"situation": "You recognize the fire involves energized electrical equipment.",

"question": "What must you do NEXT?",

"options": [

{ "label": "A", "text": "Pull the fire alarm and evacuate", "outcome": { "type": "node", "target": "C3" } },

{ "label": "B", "text": "Attempt to extinguish with water", "outcome": { "type": "failure", "target": "FC5" } },

{ "label": "C", "text": "Shut off power if trained and safe", "outcome": { "type": "node", "target": "C2A_C" } },

{ "label": "D", "text": "Open doors to ventilate smoke", "outcome": { "type": "failure", "target": "FC6" } }

]

},

"C2A_C": {

"phase": 1,

"title": "NODE C2A_C — Power Shutdown Attempt",

"situation": "You consider shutting down power at the main disconnect.",

"question": "When is this appropriate?",

"options": [

{ "label": "A", "text": "Only if trained and conditions are safe", "outcome": { "type": "node", "target": "C2A_C1" } },

{ "label": "B", "text": "Always safe", "outcome": { "type": "failure", "target": "FC7" } },

{ "label": "C", "text": "Never safe", "outcome": { "type": "partial", "target": "SC1" } },

{ "label": "D", "text": "It doesn’t matter", "outcome": { "type": "failure", "target": "FC8" } }

]

},

"C2A_C1": {

"phase": 1,

"title": "NODE C2A_C1 — Partial De-Energization",

"situation": "Power to the panel is cut. Smoke decreases, but heat remains.",

"question": "What is still dangerous?",

"options": [

{ "label": "A", "text": "Residual electrical energy", "outcome": { "type": "node", "target": "C4" } },

{ "label": "B", "text": "Fire is fully neutralized", "outcome": { "type": "failure", "target": "FC9" } },

{ "label": "C", "text": "Smoke is gone", "outcome": { "type": "failure", "target": "FC9" } },

{ "label": "D", "text": "Alarm is unnecessary", "outcome": { "type": "failure", "target": "FC9" } }

]

},

"C2X": {

"phase": 1,

"title": "NODE C2X — Misjudged Hazard",

"situation": "You underestimate the electrical risk. Crackling grows louder.",

"question": "What is most likely to happen?",

"options": [

{ "label": "A", "text": "Arc flash", "outcome": { "type": "node", "target": "C5" } },

{ "label": "B", "text": "Slow smoldering only", "outcome": { "type": "failure", "target": "FC10" } },

{ "label": "C", "text": "Nothing serious", "outcome": { "type": "failure", "target": "FC10" } },

{ "label": "D", "text": "Fire self-extinguishes", "outcome": { "type": "failure", "target": "FC10" } }

]

},

"C3": {

"phase": 1,

"title": "NODE C3 — Evacuation Control",

"situation": "Evacuation is underway. People slow down to watch the electrical room.",

"question": "What instruction do you give?",

"options": [

{ "label": "A", "text": "Keep moving away from electrical hazard", "outcome": { "type": "node", "target": "C4" } },

{ "label": "B", "text": "Allow brief observation", "outcome": { "type": "failure", "target": "FC11" } },

{ "label": "C", "text": "Let IT staff investigate", "outcome": { "type": "failure", "target": "FC12" } },

{ "label": "D", "text": "Block exits near panel", "outcome": { "type": "failure", "target": "FC13" } }

]

},

"C4": {

"phase": 1,

"title": "NODE C4 — Fire Suppression Decision",

"situation": "A fire extinguisher cabinet is nearby. The panel is still hot.",

"question": "Which extinguisher is appropriate?",

"options": [

{ "label": "A", "text": "Water", "outcome": { "type": "failure", "target": "FC14" } },

{ "label": "B", "text": "Foam", "outcome": { "type": "failure", "target": "FC14" } },

{ "label": "C", "text": "CO₂", "outcome": { "type": "node", "target": "C4A" } },

{ "label": "D", "text": "Any available extinguisher", "outcome": { "type": "failure", "target": "FC15" } }

]

},

"C4A": {

"phase": 1,

"title": "NODE C4A — CO₂ Suppression",

"situation": "CO₂ suppresses visible flames. Crackling stops, but the panel remains energized or hot.",

"question": "What is the correct understanding?",

"options": [

{ "label": "A", "text": "Electrical hazard may still exist", "outcome": { "type": "node", "target": "C6" } },

{ "label": "B", "text": "Fire is permanently out", "outcome": { "type": "failure", "target": "FC16" } },

{ "label": "C", "text": "Alarm can be silenced", "outcome": { "type": "failure", "target": "FC16" } },

{ "label": "D", "text": "Area is safe to enter", "outcome": { "type": "failure", "target": "FC16" } }

]

},

"C5": {

"phase": 1,

"title": "NODE C5 — Arc Flash Event",

"situation": "A sudden arc flash erupts from the panel, releasing intense heat and light.",

"question": "What determines injury severity?",

"options": [

{ "label": "A", "text": "Distance and protective equipment", "outcome": { "type": "node", "target": "C7" } },

{ "label": "B", "text": "Alarm timing", "outcome": { "type": "failure", "target": "FC17" } },

{ "label": "C", "text": "Fire extinguisher use", "outcome": { "type": "failure", "target": "FC17" } },

{ "label": "D", "text": "Authority presence", "outcome": { "type": "failure", "target": "FC17" } }

]

},

"C6": {

"phase": 1,

"title": "NODE C6 — Post-Suppression Risk",

"situation": "The fire appears out. Smoke smell lingers. Power status is uncertain.",

"question": "What must NOT happen?",

"options": [

{ "label": "A", "text": "Re-entry before clearance", "outcome": { "type": "failure", "target": "FC18" } },

{ "label": "B", "text": "Continued isolation", "outcome": { "type": "success", "target": "SC2" } },

{ "label": "C", "text": "Electrical inspection", "outcome": { "type": "success", "target": "SC2" } },

{ "label": "D", "text": "Documentation", "outcome": { "type": "success", "target": "SC2" } }

]

},

"C7": {

"phase": 1,

"title": "NODE C7 — Electrical Injury Response",

"situation": "Someone has burns consistent with electrical exposure.",

"question": "What is the FIRST priority?",

"options": [

{ "label": "A", "text": "Ensure power is isolated", "outcome": { "type": "node", "target": "C8" } },

{ "label": "B", "text": "Treat burns immediately", "outcome": { "type": "failure", "target": "FC19" } },

{ "label": "C", "text": "Move victim closer to panel", "outcome": { "type": "failure", "target": "FC20" } },

{ "label": "D", "text": "Resume evacuation", "outcome": { "type": "failure", "target": "FC21" } }

]

},

"C8": {

"phase": 1,

"title": "NODE C8 — Secondary Fire Risk",

"situation": "The arc flash ignited nearby insulation.",

"question": "What class of fire now exists?",

"options": [

{ "label": "A", "text": "Class A", "outcome": { "type": "failure", "target": "FC22" } },

{ "label": "B", "text": "Class B", "outcome": { "type": "failure", "target": "FC22" } },

{ "label": "C", "text": "Class C", "outcome": { "type": "failure", "target": "FC22" } },

{ "label": "D", "text": "Multiple classes", "outcome": { "type": "node", "target": "C9" } }

]

},

"C9": {

"phase": 1,

"title": "NODE C9 — Compound Fire Management",

"situation": "Electrical fire has transitioned into additional fuel sources.",

"question": "What governs your response now?",

"options": [

{ "label": "A", "text": "Most dangerous remaining hazard", "outcome": { "type": "node", "target": "C10" } },

{ "label": "B", "text": "Original fire class", "outcome": { "type": "failure", "target": "FC23" } },

{ "label": "C", "text": "Speed alone", "outcome": { "type": "failure", "target": "FC23" } },

{ "label": "D", "text": "Property value", "outcome": { "type": "failure", "target": "FC23" } }

]

},

"C10": {

"phase": 1,

"title": "NODE C10 — Stabilization Phase",

"situation": "Power is isolated. Secondary fires are controlled.",

"question": "What phase is the incident in?",

"options": [

{ "label": "A", "text": "Stabilization", "outcome": { "type": "node", "target": "C11" } },

{ "label": "B", "text": "Resolution", "outcome": { "type": "failure", "target": "FC24" } },

{ "label": "C", "text": "Normal operations", "outcome": { "type": "failure", "target": "FC24" } },

{ "label": "D", "text": "Investigation only", "outcome": { "type": "failure", "target": "FC24" } }

]

},

"C11": {

"phase": 1,

"title": "NODE C11 — After-Action Failure",

"situation": "Someone suggests restoring power quickly to minimize downtime.",

"question": "What is the correct response?",

"options": [

{ "label": "A", "text": "Deny restoration until full inspection", "outcome": { "type": "success", "target": "SC3" } },

{ "label": "B", "text": "Restore power immediately", "outcome": { "type": "failure", "target": "FC25" } },

{ "label": "C", "text": "Reset breakers manually", "outcome": { "type": "failure", "target": "FC25" } },

{ "label": "D", "text": "Let IT decide", "outcome": { "type": "failure", "target": "FC25" } }

]

},

"C12": {

"phase": 2,

"title": "NODE C12 — Silent Re-Energization Risk",

"situation": "After suppression, lights briefly flicker back on in another part of the building.",

"question": "What does this mean?",

"options": [

{ "label": "A", "text": "System is stabilizing", "outcome": { "type": "failure", "target": "FC26" } },

{ "label": "B", "text": "Partial re-energization is occurring", "outcome": { "type": "node", "target": "C13" } },

{ "label": "C", "text": "Fire risk is gone", "outcome": { "type": "failure", "target": "FC26" } },

{ "label": "D", "text": "Alarm malfunctioned", "outcome": { "type": "failure", "target": "FC26" } }

]

},

"C13": {

"phase": 2,

"title": "NODE C13 — Re-Energization Pressure",

"situation": "Facilities staff arrive and move toward the breaker panel.",

"question": "What do you do?",

"options": [

{ "label": "A", "text": "Stop all re-energization until inspection", "outcome": { "type": "node", "target": "C14" } },

{ "label": "B", "text": "Allow partial restoration", "outcome": { "type": "failure", "target": "FC27" } },

{ "label": "C", "text": "Let facilities decide", "outcome": { "type": "failure", "target": "FC28" } },

{ "label": "D", "text": "Ignore — it’s their job", "outcome": { "type": "failure", "target": "FC29" } }

]

},

"C14": {

"phase": 2,

"title": "NODE C14 — Arc Flash Re-Ignition",

"situation": "Before inspection is complete, a breaker is reset accidentally. A second arc flash occurs.",

"question": "Why is this more dangerous than the first?",

"options": [

{ "label": "A", "text": "Stored energy remained in components", "outcome": { "type": "node", "target": "C15" } },

{ "label": "B", "text": "Alarm fatigue", "outcome": { "type": "failure", "target": "FC30" } },

{ "label": "C", "text": "Fire extinguisher depletion", "outcome": { "type": "failure", "target": "FC30" } },

{ "label": "D", "text": "Less smoke present", "outcome": { "type": "failure", "target": "FC30" } }

]

},

"C15": {

"phase": 2,

"title": "NODE C15 — Electrical Burn Casualty",

"situation": "A person near the panel collapses with deep burns and possible cardiac involvement.",

"question": "What is the FIRST action?",

"options": [

{ "label": "A", "text": "Ensure power is fully isolated", "outcome": { "type": "node", "target": "C16" } },

{ "label": "B", "text": "Begin burn treatment immediately", "outcome": { "type": "failure", "target": "FC31" } },

{ "label": "C", "text": "Drag victim away", "outcome": { "type": "failure", "target": "FC32" } },

{ "label": "D", "text": "Resume evacuation", "outcome": { "type": "failure", "target": "FC33" } }

]

},

"C16": {

"phase": 2,

"title": "NODE C16 — Cardiac Risk Recognition",

"situation": "The injured person is unresponsive. Electrical shock is suspected.",

"question": "What secondary risk exists?",

"options": [

{ "label": "A", "text": "Cardiac arrhythmia", "outcome": { "type": "node", "target": "C17" } },

{ "label": "B", "text": "Smoke inhalation only", "outcome": { "type": "failure", "target": "FC34" } },

{ "label": "C", "text": "Dehydration", "outcome": { "type": "failure", "target": "FC34" } },

{ "label": "D", "text": "Structural collapse", "outcome": { "type": "failure", "target": "FC34" } }

]

},

"C17": {

"phase": 2,

"title": "NODE C17 — AED Decision",

"situation": "An AED is available nearby.",

"question": "What must you confirm before using it?",

"options": [

{ "label": "A", "text": "Scene is electrically safe", "outcome": { "type": "node", "target": "C18" } },

{ "label": "B", "text": "Fire is fully out", "outcome": { "type": "failure", "target": "FC35" } },

{ "label": "C", "text": "Alarm is silenced", "outcome": { "type": "failure", "target": "FC35" } },

{ "label": "D", "text": "Victim has burns only", "outcome": { "type": "failure", "target": "FC35" } }

]

},

"C18": {

"phase": 2,

"title": "NODE C18 — UPS / Battery Room Discovery",

"situation": "Responders discover the electrical room connects to a UPS battery bank supplying servers.",

"question": "What new hazard exists?",

"options": [

{ "label": "A", "text": "Thermal runaway", "outcome": { "type": "node", "target": "C19" } },

{ "label": "B", "text": "Smoke damage", "outcome": { "type": "failure", "target": "FC36" } },

{ "label": "C", "text": "Reduced fire risk", "outcome": { "type": "failure", "target": "FC36" } },

{ "label": "D", "text": "Alarm interference", "outcome": { "type": "failure", "target": "FC36" } }

]

},

"C19": {

"phase": 2,

"title": "NODE C19 — Battery Thermal Runaway",

"situation": "A battery unit is swelling and emitting heat.",

"question": "What must happen immediately?",

"options": [

{ "label": "A", "text": "Evacuate and isolate area", "outcome": { "type": "node", "target": "C20" } },

{ "label": "B", "text": "Cool battery with water", "outcome": { "type": "failure", "target": "FC37" } },

{ "label": "C", "text": "Remove battery manually", "outcome": { "type": "failure", "target": "FC38" } },

{ "label": "D", "text": "Ventilate aggressively", "outcome": { "type": "failure", "target": "FC39" } }

]

},

"C20": {

"phase": 2,

"title": "NODE C20 — Toxic Gas Release",

"situation": "The battery begins releasing toxic gases.",

"question": "What is the PRIMARY risk now?",

"options": [

{ "label": "A", "text": "Respiratory injury", "outcome": { "type": "node", "target": "C21" } },

{ "label": "B", "text": "Fire extinguishment failure", "outcome": { "type": "failure", "target": "FC40" } },

{ "label": "C", "text": "Alarm fatigue", "outcome": { "type": "failure", "target": "FC40" } },

{ "label": "D", "text": "Structural collapse", "outcome": { "type": "failure", "target": "FC40" } }

]

},

"C21": {

"phase": 2,

"title": "NODE C21 — PPE Decision",

"situation": "Some responders attempt to enter without respiratory protection.",

"question": "What do you do?",

"options": [

{ "label": "A", "text": "Stop entry and enforce PPE", "outcome": { "type": "node", "target": "C22" } },

{ "label": "B", "text": "Allow brief entry", "outcome": { "type": "failure", "target": "FC41" } },

{ "label": "C", "text": "Enter yourself", "outcome": { "type": "failure", "target": "FC42" } },

{ "label": "D", "text": "Ignore and continue evacuation", "outcome": { "type": "failure", "target": "FC43" } }

]

},

"C22": {

"phase": 2,

"title": "NODE C22 — Secondary Fire Ignition",

"situation": "Toxic gas ignites, starting a new fire near cabling insulation.",

"question": "What class of fire now exists?",

"options": [

{ "label": "A", "text": "Class A", "outcome": { "type": "failure", "target": "FC44" } },

{ "label": "B", "text": "Class B", "outcome": { "type": "failure", "target": "FC44" } },

{ "label": "C", "text": "Class C", "outcome": { "type": "failure", "target": "FC44" } },

{ "label": "D", "text": "Multiple classes", "outcome": { "type": "node", "target": "C23" } }

]

},

"C23": {

"phase": 2,

"title": "NODE C23 — Multi-Class Fire Management",

"situation": "Electrical, combustible insulation, and battery components are burning.",

"question": "What governs response priority?",

"options": [

{ "label": "A", "text": "Greatest immediate life hazard", "outcome": { "type": "node", "target": "C24" } },

{ "label": "B", "text": "Original fire cause", "outcome": { "type": "failure", "target": "FC45" } },

{ "label": "C", "text": "Speed alone", "outcome": { "type": "failure", "target": "FC45" } },

{ "label": "D", "text": "Equipment value", "outcome": { "type": "failure", "target": "FC45" } }

]

},

"C24": {

"phase": 2,

"title": "NODE C24 — Structural Electrical Failure",

"situation": "Cabling above the ceiling ignites. Lights fail across the building.",

"question": "What new risk emerges?",

"options": [

{ "label": "A", "text": "Loss of emergency lighting", "outcome": { "type": "node", "target": "C25" } },

{ "label": "B", "text": "Fire suppression success", "outcome": { "type": "failure", "target": "FC46" } },

{ "label": "C", "text": "Alarm clarity", "outcome": { "type": "failure", "target": "FC46" } },

{ "label": "D", "text": "Reduced smoke", "outcome": { "type": "failure", "target": "FC46" } }

]

},

"C25": {

"phase": 2,

"title": "NODE C25 — Darkness Evacuation",

"situation": "Evacuees are now moving in low visibility and darkness.",

"question": "What instruction is critical?",

"options": [

{ "label": "A", "text": "Stay low and follow wall guidance", "outcome": { "type": "node", "target": "C26" } },

{ "label": "B", "text": "Run to exits", "outcome": { "type": "failure", "target": "FC47" } },

{ "label": "C", "text": "Wait in place", "outcome": { "type": "failure", "target": "FC48" } },

{ "label": "D", "text": "Use phone flashlights only", "outcome": { "type": "failure", "target": "FC49" } }

]

},

"C26": {

"phase": 2,

"title": "NODE C26 — Generator Backfeed Risk",

"situation": "A backup generator activates automatically.",

"question": "What hidden danger exists?",

"options": [

{ "label": "A", "text": "Backfeed energizing damaged circuits", "outcome": { "type": "node", "target": "C27" } },

{ "label": "B", "text": "Fire extinguishment", "outcome": { "type": "failure", "target": "FC50" } },

{ "label": "C", "text": "Alarm reset", "outcome": { "type": "failure", "target": "FC50" } },

{ "label": "D", "text": "Structural support", "outcome": { "type": "failure", "target": "FC50" } }

]

},

"C27": {

"phase": 2,

"title": "NODE C27 — Backfeed Injury Event",

"situation": "A responder is shocked by unexpected energized equipment.",

"question": "What failed?",

"options": [

{ "label": "A", "text": "Lockout/tagout control", "outcome": { "type": "node", "target": "C28" } },

{ "label": "B", "text": "Fire suppression", "outcome": { "type": "failure", "target": "FC51" } },

{ "label": "C", "text": "Alarm timing", "outcome": { "type": "failure", "target": "FC51" } },

{ "label": "D", "text": "Evacuation speed", "outcome": { "type": "failure", "target": "FC51" } }

]

},

"C28": {

"phase": 2,

"title": "NODE C28 — Incident Command Breakdown",

"situation": "Multiple hazards compete for attention. Communication becomes chaotic.",

"question": "What restores control?",

"options": [

{ "label": "A", "text": "Clear incident command and zones", "outcome": { "type": "node", "target": "C29" } },

{ "label": "B", "text": "Everyone acting independently", "outcome": { "type": "failure", "target": "FC52" } },

{ "label": "C", "text": "Silencing alarms", "outcome": { "type": "failure", "target": "FC52" } },

{ "label": "D", "text": "Focusing on property", "outcome": { "type": "failure", "target": "FC52" } }

]

},

"C29": {

"phase": 2,

"title": "NODE C29 — Stabilization Achieved",

"situation": "Power is fully isolated. Secondary fires are controlled. Hazards contained.",

"question": "What phase is the incident now in?",

"options": [

{ "label": "A", "text": "Stabilization", "outcome": { "type": "node", "target": "C30" } },

{ "label": "B", "text": "Resolution", "outcome": { "type": "failure", "target": "FC53" } },

{ "label": "C", "text": "Normal operations", "outcome": { "type": "failure", "target": "FC53" } },

{ "label": "D", "text": "Investigation only", "outcome": { "type": "failure", "target": "FC53" } }

]

},

"C30": {

"phase": 2,

"title": "NODE C30 — Final Critical Mistake",

"situation": "Someone proposes restoring power “just to test.”",

"question": "What do you do?",

"options": [

{ "label": "A", "text": "Deny until full clearance and inspection", "outcome": { "type": "success", "target": "SC4" } },

{ "label": "B", "text": "Allow limited testing", "outcome": { "type": "failure", "target": "FC54" } },

{ "label": "C", "text": "Let IT handle it", "outcome": { "type": "failure", "target": "FC54" } },

{ "label": "D", "text": "Ignore suggestion", "outcome": { "type": "failure", "target": "FC54" } }

]

},

"C2L": {

"phase": 1,

"title": "NODE C2L — (Placeholder)",

"placeholder": true,

"note": "Referenced by C1B; suggests continued investigation alone during active evacuation."

}

},

"end_states": {

"success": {

"SC2": {

"label": "Success SC2",

"description": "Electrical fire suppressed safely, area isolated, no injuries."

},

"SC3": {

"label": "Success SC3",

"description": "Compound electrical incident managed professionally with no re-energization errors."

},

"SC4": {

"label": "Success SC4 — Electrical Disaster Contained",

"description": "Arc flash, battery hazards, toxic gases, backfeed, and multi-class fire managed without fatalities. Power restored only after clearance."

}

},

"partial": {

"SC1": {

"label": "Partial SC1",

"description": "Correct instincts but overly cautious or delayed mitigation."

}

},

"failure_ranges": {

"FC1_FC25": "Electrocution, arc flash injury, fire spread, re-energization accidents, procedural negligence.",

"FC26_FC54": "Toxic exposure, battery explosion, cardiac arrest, backfeed injuries, incident command collapse."

}

}

}